بررسی میزان بهبود بازده الکتریکی پانلهای فتوولتائیک با نانو خنککاری سیال

مجتبی بیگ زاده عباسی*1، نسرین امینی زاده2، محمد احمدی زیدآبادی3، راضیه بیگ زاده عباسی4

-1استادیار، مهندسی مکانیک، دانشگاه صنعتی سیرجان، سیرجان

-2استادیار، مهندسی مکانیک، دانشگاه صنعتی سیرجان، سیرجان

-3کارشناسی ارشد ، مهندسی مکانیک، دانشگاه شهید باهنر کرمان، کرمان

-4 دانشجوی دکتری، مهندسی مکانیک، دانشگاه علم و صنعت ایران، تهران

* سیرجان، صندوق پستی 7813733385، dialog2u@yahoo.de

چکیده

امروزه يك راه حل براي رفع نيازهاي انرژي، استفاده از سيستمهاي فتوولتائيك براي تبديل انرژي خورشيدي به انرژی الكتريكي است. سلولهاي فتوولتائيك بخش كمي از انرژي تابشي خورشيدی جذب شده را مستقيم به انرژي الكتريكي تبديل ميكنند و بخش زيادي از آن را بهصورت انرژي حرارتي هدر میدهند كه باعث بالا رفتن دماي سلولها می‌شود. سلولهاي فتوولتائيك مهمترين قسمت سيستمهاي فتوولتائيك هستند. بازده سيستمهاي فتوولتائيك با افزايش دماي سلولهاي فتوولتائيك كاهش مييابد. براي بهبود كارايي و راندمان اين سيستمها بايد دماي سلولهاي فتوولتائيك را تا حد امكان كاهش داد. سيستمهاي خنككاري مختلفي از سوي محققين مختلف ارائه شده و به نتايج مختلفي رسیده‌اند. در اين پژوهش يك سيستم خنككاري عبور نانو سيال از پشت پانل، مدلسازي شده و با نتايج آزمايشات ديگر محققان اعتبار سنجي گرديد. نتايج اعتبار سنجي با نتايج آزمايشات قبل بهخوبي مطابقت داشتند. در اين سيستم، نانو سيال درون لولهها، پشت پانل با دبي مشخص در حال عبور است. نانو سيال پس از عبور از لولهها به داخل مخزن میریزد و مجدداً به سيستم باز ميگردد. در اين پژوهش اثر پارامترهاي گوناگون بر عملكرد سيستم بهمنظور بهینه‌سازی كارايي آن بررسي شده است. نتايج حاصل از مدلسازي نشان ميدهد كه راندمان و توان خروجي پانل با استفاده از سيستم خنككاري، افزايش قابل توجهي داشته است.

کلید‌واژگان

نانو سيال، انرژي خورشيدي، انرژي الكتريكي، راندمان پانل فتوولتائيك، خنككاري پانل فتوولتائيك

Evaluation of the improvement of electrical efficiency of photovoltaic panels with fluidic nano-cooling

Mojtaba Beigzadeh Abbassi1*, Nasrin Aminizadeh2, Mohammad Ahmadi Zeydabadi3, Rasiye Beigzadeh  Abbassi4

1- Assistant Professor, mechanical engineering, Sirjan University of Technology, Sirjan, Iran

2- Assistant Professor, mechanical engineering, Sirjan University of Technology, Sirjan, Iran

3- Master of science, mechanical engineering, Shahid Bahonar University of Kerman, Kerman, Iran

4-Phd Student, Iran University of Science and Technology, Tehran, Iran

* P.O.B. 7813733385 Sirjan, Iran, dialog2u@yahoo.de

Abstract

In the last decade or so, the usage of photovoltaic systems has become more prevalent to convert the solar energy into electrical energy. The photovoltaic cells only convert a portion of the absorbed solar energy to electrical energy, whilst a majority of the solar radiation will be converted into heat which will result in an increase of the cell temperatures and energy loss. The photovoltaic cells are the crucial component of photovoltaic systems. The efficiency of the photovoltaic systems decreases with the temperature increase of the photovoltaic cells. In an attempt to increase both the performance and the efficiency of the above-mentioned systems, the temperature of the photovoltaic cells must be kept as low as possible. Different cooling systems have been proposed in the literature which would deliver different results. In this study, a nanofluid cooling system located behind the panel was modelled and simulated numerically and validated with the experimental results by other researchers. The simulate results are demonstrated to be in good agreement with the results of previous experiments. In such systems, the nanofluid flows through the pipes behind the panel with a certain flow rate. After passing through the tubes, the nanofluid flows into the tank and returns to the system. In this study, the effect of various parameters on the system performance has been investigated in an effort to optimize its efficiency. The simulated results demonstrate that both the efficiency and the output power of the panels have been increased significantly via utilizing a cooling system.

Keywords

Nano fluid, Solar energy, Electrical energy, Photovoltaic panel efficiency, Photovoltaic panel cooling